## Slide 1
EASYFIKS SMART HOME
PST02-A
PST02-B
PST02-C
Quick Guide For sensors
4 in 1 Multi-sensor
3 in 1 Sensor
3 in 1 Sensor
PSP05-B
PSP05-C
PSP05-D
Waterproof Motion sensor

## Slide 2
Contents
I、 PST02 Seriers
II、Where to Use
III、Include Device
IV 、Exclude Device
V、Sensor Settings
1. Change Sensor Name
2. Delete Log

## Slide 3
Contents
VI 、Room Settings
1. Change room image
2. Move to a different room
VII 、Scene
1. Intruder Alarm
VIII、Marco
IX 、 Schedule

## Slide 4
PST02-B
PIR
Temperature
Illumination
PST02-C
Door/Window
Temperature
Illumination
PST02-A
Door/Window
PIR
Temperature
Illumination
PST02 Series

## Slide 5
PSP05 Series
PSP05-C
Waterproof
Motion detection
Distance 12 meter
PSP05-D
Waterproof
Motion detection
Distance 12 meter
PSP05-B
Waterproof
Motion detection
Distance 12 meter

## Slide 6
Where to Use
160 cm

## Slide 7
Include Device
3.While device is in inclusion mode, click on the setting icon and select “Include Device”.
1. Remove the black mylar.
2. It will automatically be in the inclusion mode, red light slowly flashing for 30 seconds.

## Slide 8
Exclude Device
3. Device excluded then the device is in the inclusion mode.
2. Press tamper key on the device 3 times then the red light LED will flash.
1. Click on the setting icon and select “Exclude Device”.
Note: when device excluded, it will automatically be in the inclusion mode, red light slowly flashing for 30 seconds.

## Slide 9
Sensor Settings
2. A new window will open with the information.
1. Click on the sensor which you want to see the information.

## Slide 10
Sensor Settings
2. Change the name of the sensor and click OK.
Change Sensor Name
1. Click on the name of the sensor.

## Slide 11
Sensor Settings
2. Once click, all log will be removed.
1. To delete log, click on the brush tool
Delete Log

## Slide 12
Room Settings
When room is created, the selected devices are located in the room.
All settings are needed to be done in Tablet/Pad/Advance Settings (web user manual).

## Slide 13
Room Settings
2. You can opt to choose an image from Library or from Camera.
1. Click on the image.
Change room image
Note: Images are done locally, so any image change done in room will only remain on that devices.

## Slide 14
3. It will show the sensors on the selected room.
2. Select the room you want to view.
1. Select the down arrow on the upper right side.
Room
Move to a different room

## Slide 15
Scene
Intruder Alarm
To activate armed and disarmed mode, click the lock.
During armed mode, the padlock icon will be close, and the box will be in pink.

## Slide 16
All settings are needed to be done in Tablet/Pad/Advance Settings.
Macro
When marco is created, you can activate or deactivate the marco.

## Slide 17
When schedule is created, you can activate or deactivate the schedule.
All settings are needed to be done in Tablet/Pad/Advance Settings.
Schedule

## Slide 18
EASYFIKS SMART HOME
Notes: 18
18